### SECTION 206 – STRUCTURE EXCAVATION

**DESCRIPTION**

**206.01.01 GENERAL**

***ADD THE FOLLOWING TO THIS SUBSECTION:***

C. Where structure over-excavation below the depths as shown on the plans or required by the specifications is necessary to remove unsuitable material, the Engineer may require the Contractor to remove the unsuitable materials and backfill to the required grade with material conforming to subsection 704.03.02, compacted to a minimum of 90% of ASTM D1557 Modified Proctor and in accordance with the methods in the USS.

D. Unless otherwise provided in the Special Provisions, structure over-excavation and backfill below the limits shown on the plans will be paid for as “Extra Work”.

E. If groundwater is encountered within the excavated area, dewatering shall be performed as specified in Section 270 “Dewatering”.

***ADD THE FOLLOWING SUBSECTION TO THIS SECTION:***

**METHOD OF MEASUREMENT**

**206.04.01 MEASUREMENT**

***ADD THE FOLLOWING TO THIS SUBSECTION:***

The quantity of [FILL IN ITEM DESCRIPTION] will be measured per [UNIT].

No direct measurement shall be made for [FILL IN ITEM DESCRIPTION].

No unit of measurement shall be made for Structure Excavation and Backfill.

**METHOD OF PAYMENT**

**206.05.01 PAYMENT**

***ADD THE FOLLOWING TO THIS SUBSECTION:***

The accepted quantity of [FILL IN ITEM DESCRIPTION] will be paid for at the contract unit price of [UNIT] and shall include all materials, equipment and labor required including, but not limited to, [FILL IN] and all other items necessary to complete the work as shown on the Plans, as specified herein and as directed by the Engineer.

The accepted quantity of [FILL IN ITEM DESCRIPTION] will be paid for at the contract unit price of [UNIT] and shall conform to the requirements of subsection 206.05.01 of the Uniform Standard Specifications and shall include all materials, equipment, labor and disposal required to perform this work and all work as shown on the Plans, as specified herein and as directed by the Engineer. The above payment shall also include,

Unless otherwise provided in the Special Provisions, no payment will be made for [FILL IN ITEM DESCRIPTION] as such. The cost thereof shall be considered as included in the price bid for construction or installation of the items to which [FILL IN ITEM DESCRIPTION] is required.

Unless otherwise provided in the Special Provisions, no payment will be made for Structure Excavation and Backfill as such. The cost thereof shall be considered as included in the price bid for construction or installation of the items to which Structure Excavation and Backfill is required.

Payment will be made under:

|  |  |  |
| --- | --- | --- |
| **ITEM NO.** | **ITEM DESCRIPTION** | **UOM** |
| 206.XXXX | [ITEM DESCRIPTION] | [UNIT] |

**END OF SECTION 206**