### SECTION 207 – STRUCTURE BACKFILL

**materials**

* + 1. SELECTED BACKFILL

*REVISE PARAGRAPH A TO READ AS FOLLOWS:*

* + 1. Selected backfill shall be of a quality acceptable to the Engineer and shallconsist of suitable material from the excavation complying to Table 1 and Table 2. It shall be free from sod, frozen earth, organic materials, rubbish, or debris. If the material does not comply with Table 1, it may be used only if approved by the Engineer.

**DESCRIPTION**

**METHOD OF MEASUREMENT**

**207.04.01 MEASUREMENT**

***ADD THE FOLLOWING TO THIS SUBSECTION:***

The quantity of [FILL IN ITEM DESCRIPTION] will be measured per [UNIT].

No direct measurement shall be made for [FILL IN ITEM DESCRIPTION].

**METHOD OF PAYMENT**

**207.05.01 PAYMENT**

***ADD THE FOLLOWING TO THIS SUBSECTION:***

The accepted quantity of [FILL IN ITEM DESCRIPTION] will be paid for at the contract unit price of [UNIT] and shall include all materials, equipment and labor required including, but not limited to, [FILL IN] and all other items necessary to complete the work as shown on the Plans, as specified herein and as directed by the Engineer.

The accepted quantity of [FILL IN ITEM DESCRIPTION] will be paid for at the contract unit price of [UNIT] and shall conform to the requirements of subsection 207.05.01 of the Uniform Standard Specifications and shall include all materials, equipment, labor and disposal required to perform this work and all work as shown on the Plans, as specified herein and as directed by the Engineer. The above payment shall also include,

Unless otherwise provided in the Special Provisions, no payment will be made for [FILL IN ITEM DESCRIPTION] as such. The cost thereof shall be considered as included in the price bid for construction or installation of the items to which [FILL IN ITEM DESCRIPTION] is required.

Payment will be made under:

|  |  |  |
| --- | --- | --- |
| **ITEM NO.** | **ITEM DESCRIPTION** | **UOM** |
| 207.XXXX | [ITEM DESCRIPTION] | [UNIT] |

**END OF SECTION 207**